## Sheet1
Serial / material | Blank | AVERAGE RAW READING 400ppb RWT DYE(40ug/L chla equiv) | Calibration curve | Gain setting | Calibration liquid | date
2103415 Titanium | 0 | 838.9091 | 0.047681 | 10x | 400ppb rhodamine WT dye | 2024-10-01
2180450 plastic | 0 | 2020.8 | 0.019794 | 10x | 400ppb rhodamine WT dye | 2024-10-01
2180556 plastic | 0 | 2662.5 | 0.015023 | 10x | 400ppb rhodamine WT dye | 2024-10-01

## 2180450
Time | Probe_TempRaw | Probe_TempCal | Condraw | CondCal | SpCond | Salinity | TurbRaw | TurbCal | TurbManu | ChlRaw | ChlVolts | ChlCal | CDOMRaw | CDOMVolts | CDOMCal | CDOMChlEQ | ChlAdj | TempRaw | TempCal
2024-10-17 17:37 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 1984 | 1.5984 | 10.9112 | 0 | 0 | 0 | 0 | 10.9112 | 800 | 6.86
2024-10-17 17:37 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 1972 | 1.5888 | 10.8428 | 0 | 0 | 0 | 0 | 10.8428 | 792 | 6.7752
2024-10-17 17:38 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2064 | 1.6629 | 11.3672 | 0 | 0 | 0 | 0 | 11.3672 | 793 | 6.7858
2024-10-17 17:38 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2050 | 1.6516 | 11.2874 | 0 | 0 | 0 | 0 | 11.2874 | 781 | 6.6586
2024-10-17 17:39 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2010 | 1.6194 | 11.0594 | 0 | 0 | 0 | 0 | 11.0594 | 790 | 6.754
2024-10-17 17:39 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2035 | 1.6395 | 11.2019 | 0 | 0 | 0 | 0 | 11.2019 | 797 | 6.8282
2024-10-17 17:40 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 1998 | 1.6097 | 10.991 | 0 | 0 | 0 | 0 | 10.991 | 791 | 6.7646
2024-10-17 17:40 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2018 | 1.6258 | 11.105 | 0 | 0 | 0 | 0 | 11.105 | 783 | 6.6798
2024-10-17 17:41 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2079 | 1.675 | 11.4527 | 0 | 0 | 0 | 0 | 11.4527 | 809 | 6.9554
2024-10-17 17:41 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 1998 | 1.6097 | 10.991 | 0 | 0 | 0 | 0 | 10.991 | 790 | 6.754

## 2180556
Time | Probe_TempRaw | Probe_TempCal | Condraw | CondCal | SpCond | Salinity | TurbRaw | TurbCal | TurbManu | ChlRaw | ChlVolts | ChlCal | CDOMRaw | CDOMVolts | CDOMCal | CDOMChlEQ | ChlAdj | TempRaw | TempCal
2024-10-17 17:58 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2627 | 2.1165 | 14.5763 | 0 | 0 | 0 | 0 | 14.5763 | 824 | 7.1144
2024-10-17 17:58 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2603 | 2.0971 | 14.4395 | 0 | 0 | 0 | 0 | 14.4395 | 820 | 7.072
2024-10-17 17:59 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2614 | 2.106 | 14.5022 | 0 | 0 | 0 | 0 | 14.5022 | 819 | 7.0614
2024-10-17 17:59 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2695 | 2.1713 | 14.9639 | 0 | 0 | 0 | 0 | 14.9639 | 816 | 7.0296
2024-10-17 18:00 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2639 | 2.1261 | 14.6447 | 0 | 0 | 0 | 0 | 14.6447 | 825 | 7.125
2024-10-17 18:02 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2651 | 2.1358 | 14.7131 | 0 | 0 | 0 | 0 | 14.7131 | 802 | 6.8812
2024-10-17 18:03 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2683 | 2.1616 | 14.8955 | 0 | 0 | 0 | 0 | 14.8955 | 801 | 6.8706
2024-10-17 18:04 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2721 | 2.1922 | 15.1121 | 0 | 0 | 0 | 0 | 15.1121 | 797 | 6.8282
2024-10-17 18:05 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2706 | 2.1801 | 15.0266 | 0 | 0 | 0 | 0 | 15.0266 | 789 | 6.7434
2024-10-17 18:06 | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | Fail | 2686 | 2.164 | 14.9126 | 0 | 0 | 0 | 0 | 14.9126 | 774 | 6.5844

## TItanium raw
Time | Probe_TempRaw | Probe_TempCal | Condraw | CondCal | SpCond | Salinity | TurbRaw | TurbCal | TurbManu | ChlRaw | ChlVolts | ChlCal | CDOMRaw | CDOMVolts | CDOMCal | CDOMChlEQ | ChlAdj | TempRaw | TempCal
2024-10-17 19:18 | Fail | Fail | Fail | Fail | Fail | Fail | 1534 | 1.2359 | 8.3462 | 883 | 0.7114013671874999 | 28.4561 | 0.9713 | 7.374899999999999 | 1409 | 13.3154
2024-10-17 19:19 | Fail | Fail | Fail | Fail | Fail | Fail | 1517 | 1.2221923828124999 | 8.2493 | 879 | 0.70818 | 28.3271 | 0.9669000000000001 | 7.2824 | 818 | 7.0508
2024-10-17 19:20 | Fail | Fail | Fail | Fail | Fail | Fail | 1528 | 1.2311 | 8.312 | 851 | 0.6856201171874999 | 27.4248 | 0.9361 | 7.3759 | 1459 | 13.845400000000001
2024-10-17 19:20 | Fail | Fail | Fail | Fail | Fail | Fail | 1517 | 1.2221923828124999 | 8.2493 | 893 | 0.7194580078124999 | 28.778318080000002 | 0.9823000000000001 | 7.2669999999999995 | 822 | 7.0932
2024-10-17 19:20 | Fail | Fail | Fail | Fail | Fail | Fail | 1518 | 1.223 | 8.254999999999999 | 846 | 0.6815917968749999 | 27.263669760000003 | 0.9306000000000001 | 7.324399999999999 | 1470 | 13.962
2024-10-17 19:21 | Fail | Fail | Fail | Fail | Fail | Fail | 1536 | 1.2374999999999998 | 8.3576 | 826 | 0.6654785156249999 | 26.6191 | 0.9086000000000001 | 7.449 | 824 | 7.114400000000001
2024-10-17 19:22 | Fail | Fail | Fail | Fail | Fail | Fail | 1517 | 1.2221923828124999 | 8.2493 | 809 | 0.65178 | 26.0713 | 0.8899 | 7.3594 | 1459 | 13.845400000000001
2024-10-17 19:24 | Fail | Fail | Fail | Fail | Fail | Fail | 1491 | 1.2012 | 8.101099999999999 | 804 | 0.64775 | 25.9102 | 0.8844000000000001 | 7.216699999999999 | 1092 | 9.955200000000001
2024-10-17 19:25 | Fail | Fail | Fail | Fail | Fail | Fail | 1542 | 1.2423339843749999 | 8.3918 | 834 | 0.67192 | 26.877 | 0.9174000000000001 | 7.4744 | 857 | 7.464199999999999
2024-10-17 19:34 | Fail | Fail | Fail | Fail | Fail | Fail | 1533 | 1.2351 | 8.3405 | 793 | 0.6388916015624999 | 25.5557 | 0.8723000000000001 | 7.4682 | 1302 | 12.1812
2024-10-17 19:35 | Fail | Fail | Fail | Fail | Fail | Fail | 1561 | 1.2576416015624998 | 8.5001 | 810 | 0.65259 | 26.1035 | 0.891 | 7.6091 | 1048 | 9.488800000000001
2024-10-17 19:36 | Fail | Fail | Fail | Fail | Fail | Fail | 4095 | 3.2992 | 22.9439 | 61 | 0.049145507812499996 | 1.9658 | 0.0671 | 22.8768 | 1223 | 11.343800000000002
2024-10-17 19:36 | Fail | Fail | Fail | Fail | Fail | Fail | 4095 | 3.2992 | 22.9439 | 82 | 0.066064 | 2.6426 | 0.0902 | 22.8537 | 1201 | 11.110600000000002
838.9091